Planning of a Simple Water Supply System

This questionnaire serves as background for the planning of a water supply system. Since it is only a general questionnaire not all questions are appropriate for the respective situation. Other questions may not be answered due to lack of information. However, in order to guarantee an effective planning, the questions should be answered precisely as far as possible.

| A) Area B) Consumers | 1. Country Province Location 2. Differences in elevation in the area 3. Climate Rain (distribution throughout the year) Temperatures (distribution throughout the year) 4. Geology 5. Surface water - rivers - brooks - lakes - channels - rainwater harvesting 6. Is there any ground water? - in what depth? - high yield? - high quality? Are there any springs? 1. How may people shall be supplied with water? 2. Consumption/per person/per day: - 15 I/person/day - 30 I/person/day - 50 I/person/day - 70 I/person/day - others, please indicate. 3. Other consumers that are supplied with water (Live stock, gardens, hospitals, schools, market ...) |
| --- | --- |

C) Existing water supply 1. What kind of water is the population consuming at present?

-	tap water

-	wells

- springs

- surface water

2.	Average distance to the house

3.	Quality of water (personal judgement)

4.	Is the water paid for?

D) Background

D) Background

1. Hygienic conditions

-	storage of water (in case there is no tap system)

-	description of sanitation

-	traditional patterns and practices in reference to water and hygiene

- educational work in the field of water and sanitation?

-	Who is the organizer?

2. Local resources

-	Electricity, diesel engine, wind, sun

-	Materials: cement, tubes, simple profiles? Experiences

- well sinking

-	manufacturing of metal

-	repairing of machines

3. Legal and financial aspects

-	authorities, responsible for the water supply

-	shall/can the water be sold?

-	who is responsible for maintenance and repair?

-	who finances the initial investment?

-	who pays for maintenance and repair?

Hans Hartung April 1988